## ปร. 4 สุขาภิบาล&อัคคีภัย
รายการประมาณราคาก่อสร้าง พิพิธภัณฑ์พระรามเก้า
สถานที่ก่อสร้าง |  | องค์การพิพิธภัณฑ์วิทยาศาสตร์แห่งชาติ (เทคโนธานี) จ.ปทุมธานี | [5 empty] | แบบเลขที่
ฝ่าย/งาน | [7 empty] | สำนัก
ประมาณการโดย | [7 empty] | เมื่อวันที่
ลำดับที่ | รายการ |  | จำนวน | หน่วย | ราคาวัสดุสิ่งก่อสร้าง |  | ค่าแรงงาน |  | ค่าวัสดุและแรงงาน | หมายเหตุ
[5 empty] | ราคาต่อหน่วย | จำนวนเงิน | ราคาต่อหน่วย | จำนวนเงิน
| สรุปงานก่อสร้าง | [8 empty] | คิดเป็นร้อยละ
1. | หมวดงานระบบสถาปัตยกรรม |  |  | รวม
2. | หมวดงานระบบโครงสร้าง |  |  | รวม
3. | หมวดงานระบบไฟฟ้าและสื่อสาร |  |  | รวม
4. | หมวดงานระบบปรับอากาศและระบายอากาศ |  |  | รวม |  |  |  |  | #REF!
5. | หมวดงานระบบสุขาภิบาลและป้องกันอัคคีภัย |  |  | รวม |  |  |  |  | 0
6. | หมวดงานลิฟต์และบันไดเลื่อน |  |  | รวม |  |  |  |  | #REF!
| รวมราคาค่าวัสดุและค่าแรงงานเป็นเงินประมาณ | [8 empty] | 100
5. | หมวดงานระบบสุขาภิบาลและป้องกันอัคคีภัย
1 | Cold water supply system |  |  | งาน
2 | Drainage system and wastewater treatment plant |  |  | งาน
3 | Storm drain system |  |  | งาน
4 | Fire protection system |  |  | งาน
5 | Testing , Adjusting and Other |  |  | งาน
รวมหมวดงานระบบสุขาภิบาลและป้องกันอัคคีภัย
1 | Cold water supply system
1.1 | CWBP-01 with Inertia Base |  |  | set
1.2 | Cold water pipe (G.S.P. Medium)
| - Dia 150 mm. |  |  | m
| - Dia 100 mm. |  |  | m
| - Dia 80 mm. |  |  | m
| - Dia 65 mm. |  |  | m
| - Dia 50 mm. |  |  | m
| - Dia 40 mm. |  |  | m
| - Dia 32 mm. |  |  | m
| - Dia 25 mm. |  |  | m
| - Dia 20 mm. |  |  | m
| - Dia 15 mm. |  |  | m
| Pipe Fitting |  |  | lot
| Pipe Hangers & Supports |  |  | lot
1.3 | Gate valve (GV)
| - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
ADD | - Dia 80 mm. |  |  | pcs
| - Dia 65 mm. |  |  | pcs
| - Dia 50 mm. |  |  | pcs
| - Dia 40 mm. |  |  | pcs
| - Dia 25 mm. |  |  | pcs
| - Dia 15 mm. |  |  | pcs
1.4 | Check valve (CV)
| - Dia 150 mm. |  |  | pcs
1.5 | Modulating float valve
| - Dia 100 mm. |  |  | pcs
1.6 | Strainer (STR)
ADD | - Dia 100 mm. |  |  | pcs
1.7 | Flexible connector (FLEX)
| - Dia 100 mm. |  |  | pcs
1.8 | Automatic air vent (AAV)
| - Dia 20 mm. |  |  | pcs
1.9 | Water hammer arrester (WHA)
| -Fixture unit 12-32 |  |  | pcs
| -Fixture unit 33-60 |  |  | pcs
| -Fixture unit 61-113 |  |  | pcs
| -Fixture unit 114-154 |  |  | pcs
1.10 | Water meter
| - Dia 100 mm. |  |  | pcs
1.11 | Hose bibb
| - Dia 15 mm. |  |  | pcs
| - Dia 20 mm. |  |  | pcs
1.12 | Pressure switch |  |  | pcs
1.13 | Pressure gauge
| - Dia 25 mm. |  |  | pcs
1.14 | Cold water (HDPE PN10)
| - Dia 100 mm. |  |  | m
| - Fitting & Support |  |  | lot
TOTAL ITEM 1
2 | Drainage system and wastewater treatment plant
2.1 | Submersible pump w/control Q = 12 m3/hr TDH = 15 m. |  |  | set
2.2 | Submersible pump w/control Q = 30 m3/hr TDH = 15 m. |  |  | set
2.3 | Equalizing pump w/control Q = 25 m3/hr TDH = 12 m. |  |  | set
2.4 | Submersible ejector, Q = 28 m3/hr at = 3 m. |  |  | set
2.5 | Submersible aerator Q = 110 m3/hr at = 3.2 m. |  |  | set
2.6 | Sludge pump Q= 10 m3/hr TDH=12m. |  |  | set
2.7 | Sludge pump Q= 6 m3/hr TDH=12m. |  |  | set
2.8 | Effluent pump Q= 25 m3/hr TDH=20m. |  |  | set
2.9 | GREASE TRAP TANK - 1 ( 8.2 Cu.m ) |  |  | set
2.10 | GREASE TRAP TANK - 2 ( 3.1 Cu.M ) |  |  | set
2.11 | ชุดถังเติมคลอรีน (ราคารวมถัง PE,Feed Pump,ใบกวน) |  |  | set
2.12 | Manhole w/SEAL(MH)
| - Dia 1000 mm. |  |  | pcs
| - Dia 800 mm. |  |  | pcs
| - Dia 600 mm. |  |  | pcs
2.13 | Soil, Waste, Kitchen, Vent pipe (PP Class B)
| - Dia 150 mm. |  |  | m
| - Dia 100 mm. |  |  | m
| - Dia 80 mm. |  |  | m
| - Dia 65 mm. |  |  | m
| - Dia 50 mm. |  |  | m
| - Dia 40 mm. |  |  | m
| Pipe Fitting |  |  | lot
| Pipe Hangers & Supports |  |  | lot
2.14 | Clean out (CO)
| - Dia 100 mm. |  |  | pcs
| - Dia 80 mm. |  |  | pcs
2.15 | Floor clean out (FCO)
| - Dia 150 mm. |  |  | pcs
ADD | - Dia 100 mm. |  |  | pcs
| - Dia 80 mm. |  |  | pcs
2.16 | Flexible connector (FLEX)
| - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
ADD | - Dia 80 mm. |  |  | pcs
2.17 | Floor drain (FD)
| - Dia 80 mm. |  |  | pcs
ADD | - Dia 50 mm. |  |  | pcs
Funnel Type
| - Dia 50 mm. |  |  | pcs
2.18 | Vent through roof (VTR)
| - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
TOTAL ITEM 2
3 | Storm drain system
3.1 | Rain water pipe (G.S.P. Class M)
| - Dia 200 mm. |  |  | m
| - Dia 150 mm. |  |  | m
| - Dia 100 mm. |  |  | m
| Pipe Fitting |  |  | lot
| Pipe Hangers & Supports |  |  | lot
3.2 | Rain water pipe (HDPE PN 6.3) for underground
| - Dia 250 mm. |  |  | m
| - Dia 150 mm. |  |  | m
| - Dia 100 mm. |  |  | m
| Pipe Fitting |  |  | lot
| Pipe Hangers & Supports |  |  | lot
3.3 | Roof drain (RD)
| - Dia 200 mm. |  |  | pcs
| - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
3.4 | Flexible connector (FLEX)
| - Dia 250 mm. |  |  | pcs
| - Dia 200 mm. |  |  | pcs
ADD | - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
3.5 | Floor clean out (FCO)
| - Dia 250 mm. |  |  | pcs
| - Dia 200 mm. |  |  | pcs
| - Dia 150 mm. |  |  | pcs
TOTAL ITEM 3
4 | Fire protection system
4.1 | - Fire pump (DFP) w/control complete set |  |  | set
and Concrete plinth
4.2 | - Jockey pump (JP) w/control complete |  |  | set
and Concrete plinth
4.3 | Fire pipe (BSP # 40 Seam)
| - Dia 200 mm. |  |  | m
| - Dia 150 mm. |  |  | m
| - Dia 100 mm. |  |  | m
| - Dia 80 mm. |  |  | m
| - Dia 65 mm. |  |  | m
| - Dia 50 mm. |  |  | m
| - Dia 40 mm. |  |  | m
| - Dia 32 mm. |  |  | m
| - Dia 25 mm. |  |  | m
| - Dia 20 mm. |  |  | m
| Pipe Fitting |  |  | lot
| Pipe Hangers & Supports |  |  | lot
4.4 | Test and drain pipe (G.S.P Medium)
| - Dia 50 mm. |  |  | m
ADD | - Dia 25 mm. |  |  | m
ADD | - Pressure Gauge |  |  | pcs
ADD | - Ball Valve Dia.15 mm. |  |  | m
ADD | - Ball Valve Dia.25 mm. |  |  | m
ADD | - Gate Valve Dia.25 mm. |  |  | m
| - Fitting & Support |  |  | lot
4.5 | Fire hose cabinet (FHC) |  |  | set
4.6 | Gate valve (GV)
| - Dia 25 mm. |  |  | pcs
| - Dia 20 mm. |  |  | pcs
4.7 | Gate valve (W/SS)
| - Dia 200 mm. |  |  | pcs
| - Dia 150 mm. |  |  | pcs
| - Dia 100 mm. |  |  | pcs
| - Dia 65 mm. |  |  | pcs
4.8 | Automatic air vent (AAV)
| - Dia 20 mm. |  |  | pcs
4.9 | Flow switch |  |  | pcs
4.10 | Sight glass |  |  | pcs
4.11 | Sprinkler |  |  | pcs
4.12 | Fire extinguisher |  |  | pcs
4.13 | Alarm Valves
| - Dia 200 mm. |  |  | pcs
4.14 | Annunciator |  |  | set
4.15 | Fire department connector |  |  | pcs
4.16 | Flow meter |  |  | pcs
TOTAL ITEM 4
5 | TESTING , ADJUSTING AND OTHER
5.1 | Test pipe, Clean pipe, Clean water tank |  |  | lot
5.2 | Painting |  |  | lot
5.3 | Electric work |  |  | lot
5.4 | GAS SUPPLY SYSTEM
| - Dia 50mm. (BSP:SEAMLESS) |  |  | m
| -Dia 20 BV |  |  | set
| -GAS TANK 48Kg |  |  | pcs
| -Emergency Shut of Valve |  |  | pcs
| -Ball Valve Dia.50 mm.Class 300 |  |  | pcs
| -Regulator |  |  | pcs
| -Ball Valve Dia.50 mm.Class 300 with plug |  |  | pcs
| -Pressure Gauge |  |  | pcs
| -Check Ball Valve |  |  | pcs
| -Relief Valve |  |  | pcs
| -LPG Liguid Change Over (Outdoor & Liquid Type) |  |  | pcs
| -Oil fillter |  |  | pcs
| -Gas Detecter |  |  | pcs
| -LPG Electric Vaporizer |  |  | pcs
| -Tank Support |  |  | Sets
| -LPG Single pigtail |  |  | pcs
| -Y STRAINER |  |  | pcs
| -Accessories,งานทำแบบ,ขออนุญาต |  |  | lot
5.5 | Accessories and Miscellanous |  |  | lot
TOTAL ITEM 5