## ปร. 4 ปรับอากาศ
รายการประมาณราคาก่อสร้าง พิพิธภัณฑ์พระรามเก้า
สถานที่ก่อสร้าง |  | องค์การพิพิธภัณฑ์วิทยาศาสตร์แห่งชาติ (เทคโนธานี) จ.ปทุมธานี | [5 empty] | แบบเลขที่
ฝ่าย/งาน | [7 empty] | สำนัก
ประมาณการโดย | [7 empty] | เมื่อวันที่
ลำดับที่ | รายการ |  | จำนวน | หน่วย | ราคาวัสดุสิ่งก่อสร้าง |  | ค่าแรงงาน |  | ค่าวัสดุและแรงงาน | หมายเหตุ
[5 empty] | ราคาต่อหน่วย | จำนวนเงิน | ราคาต่อหน่วย | จำนวนเงิน
| สรุปงานก่อสร้าง | [8 empty] | คิดเป็นร้อยละ
1. | หมวดงานระบบสถาปัตยกรรม |  |  | รวม
2. | หมวดงานระบบโครงสร้าง |  |  | รวม
3. | หมวดงานระบบไฟฟ้าและสื่อสาร |  |  | รวม
4. | หมวดงานระบบปรับอากาศและระบายอากาศ |  |  | รวม |  |  |  |  | 0
5. | หมวดงานระบบสุขาภิบาลและป้องกันอัคคีภัย |  |  | รวม
6. | หมวดงานลิฟต์และบันไดเลื่อน |  |  | รวม
| รวมราคาค่าวัสดุและค่าแรงงานเป็นเงินประมาณ | [8 empty] | 100
4. | หมวดงานระบบปรับอากาศและระบายอากาศ
1 | WATER CHILLER |  |  | รวม
2 | COOLING TOWER |  |  | รวม
3 | WATER PUMP |  |  | รวม
4 | AIR HANDLING UNIT |  |  | รวม
5 | FAN COIL UNIT |  |  | รวม
6 | VRV UNIT & SPLIT TYPE |  |  | รวม
7 | FAN |  |  | รวม
8 | PIPING WORK |  |  | รวม
9 | PIPE INSULATION |  |  | รวม
10 | VALVE & PIPE ACCESSORIES |  |  | รวม
11 | DUCT WORK |  |  | รวม
12 | CONTROL EQUIPMENT & INSTRUMENT |  |  | รวม
13 | ELECTRICAL PANEL |  |  | รวม
14 | ELECTRICAL & CONTROL SYSTEM |  |  | รวม
15 | TESTING , ADJUSTING AND BALANCING |  |  | รวม
16 | MISCELLANEOUS |  |  | รวม
รวมหมวดงานระบบปรับอากาศและระบายอากาศ
1 | WATER CHILLER
1.1 | Water-Cooled Centrifugal Chiller
| - CH-1 to 3 (@ 670 ton) |  |  | SET
1.2 | Chiller Plant Manager
| Work Station set with printer |  |  | SET
| Software |  |  | SET | -INCLUDE- |  | -INCLUDE- |  | 0
| Chiller Interface unit |  |  | SET | -INCLUDE- |  | -INCLUDE- |  | 0
| Controller / IO |  |  | LOT | -INCLUDE- |  | -INCLUDE- |  | 0
1.3 | Vibration Isolator |  |  | SET | -INCLUDE- |  | -INCLUDE- |  | 0
1.4 | Concrete Foundation |  |  | SET | -INCLUDE- |  | -INCLUDE- |  | 0
TOTAL ITEM 1
2 | COOLING TOWER
2.1 | Cross Flow Type Cooling Tower (With Hood)
| -CT-1 to 3 (2010 gpm) |  |  | SET
2.2 | Cooling Water Treatment Unit |  |  | SET
2.3 | Duplex Type Water Softener (Capacity 120 gpm) |  |  | SET
2.4 | Concrete Foundation |  |  | SET
TOTAL ITEM 2
3 | WATER PUMP
3.1 | Chilled Water Pump
3.1.1 | Primary Chilled Water Pump
| - PCP-1 to 3 (@1072gpm) |  |  | SET
3.1.2 | Secondary Chilled Water Pump
| - SCP-1 to 3 (@1072gpm) |  |  | SET
3.2 | Condenser Water Pump
| -CDP-1 to 3 (@2010 gpm) |  |  | SET
3.3 | Shell Insulation |  |  | SET
3.4 | Vibration Isolator |  |  | SET
3.5 | Concrete Foundation |  |  | SET
3.6 | Inertia Block |  |  | SET
TOTAL ITEM 3
4 | AIR HANDLING UNIT
4.1 | AHU-M1-1 (625600 BTUH) |  |  | SET
4.2 | AHU-M1-2 (456100 BTUH) |  |  | SET
4.3 | AHU-M1-3 (1008100 BTUH) |  |  | SET
4.4 | AHU-M1-4 (1100100 BTUH) |  |  | SET
4.5 | AHU-M1-5 (1100100 BTUH) |  |  | SET
4.6 | AHU-M1-6 (596500 BTUH) |  |  | SET
4.7 | AHU-M1-7 (672500 BTUH) |  |  | SET
4.8 | AHU-M1-8 (672500 BTUH) |  |  | SET
4.9 | AHU-M1-9 (1076000 BTUH) |  |  | SET
4.1 | AHU-M1-10 (331200 BTUH) |  |  | SET
4.11 | AHU-M2-1 (691500 BTUH) |  |  | SET
4.12 | AHU-M2-2 (371400 BTUH) |  |  | SET
4.13 | AHU-M2-3 (449100 BTUH) |  |  | SET
4.14 | AHU-M2-4 (180000 BTUH) |  |  | SET
4.15 | AHU-M2-5 (165800 BTUH) |  |  | SET
4.16 | AHU-M2-6 (700100 BTUH) |  |  | SET
4.17 | AHU-M2-7 (576000 BTUH) |  |  | SET
4.18 | AHU-M2-8 (758800 BTUH) |  |  | SET
4.19 | AHU-M2-9 (827800 BTUH) |  |  | SET
4.2 | AHU-M2-10 (350800 BTUH) |  |  | SET
4.21 | AHU-M2-11 (1371000 BTUH) |  |  | SET
4.22 | OAU-M1-1 (1558200 BTUH) |  |  | SET
4.23 | OAU-M2-2 (1376300 BTUH) |  |  | SET
4.24 | OAU-M2-1 (1949900 BTUH) |  |  | SET
4.28 | Concrete Foundation |  |  | SET
TOTAL ITEM 4
5 | FAN COIL UNIT
5.1 | FCU-M1-1 (38900 BTUH) |  |  | SET
5.2 | FCU-M1-2 (30500 BTUH) |  |  | SET
5.3 | FCU-M1-3 (67600 BTUH) |  |  | SET
5.4 | FCU-M1-4 (72700 BTUH) |  |  | SET
5.5 | FCU-M1-5 (36300 BTUH) |  |  | SET
5.6 | FCU-M1-6 (12000 BTUH) |  |  | SET
5.7 | FCU-M1-7 (20600 BTUH) |  |  | SET
5.8 | FCU-M1-8 (20600 BTUH) |  |  | SET
5.9 | FCU-M2-1 (86500 BTUH) |  |  | SET
5.1 | FCU-M2-2 (27200 BTUH) |  |  | SET
5.11 | FCU-M2-3 (27600 BTUH) |  |  | SET
5.12 | FCU-MM2-1 (54600 BTUH) |  |  | SET
5.18 | Filter |  |  | SET
TOTAL ITEM 5
6 | VRV UNIT & SPLIT TYPE
6.1 | VRV Fan Coil Unit
| - | FCUV-M1-1 (93400 BTUH) |  | SET
| - | FCUV-M1-2 (39500 BTUH) |  | SET
| - | FCUV-M1-3 (56000 BTUH) |  | SET
| - | FCUV-M1-4 (56000 BTUH) |  | SET
| - | FCUV-MM1-1 (54600 BTUH) |  | SET
| - | FCUV-MM1-2 (54600 BTUH) |  | SET
| - | FCUV-MM1-3 (48000 BTUH) |  | SET
| - | FCUV-M2-1 (48000 BTUH) |  | SET
| - | FCUV-M2-2 (40000 BTUH) |  | SET
| - | FCUV-M2-3 (37400 BTUH) |  | SET
| - | FCUV-M2-4 (37400 BTUH) |  | SET
| - | FCUV-M2-5 (73700 BTUH) |  | SET
| - | FCUV-M2-6 (73700 BTUH) |  | SET
| - | FCUV-M2-7 (62700 BTUH) |  | SET
| - | FCUV-M2-8 (62700 BTUH) |  | SET
| - | FCUV-M2-9 (68600 BTUH) |  | SET
| - | FCUV-M2-10 (68600 BTUH) |  | SET
6.2 | VRV Outdoor Unit
| - | VRV-M1-1 |  | SET
| - | VRV-MM1-1 |  | SET
| - | VRV-M2-1 |  | SET
| - | VRV-M2-2 |  | SET
| - | VRV-M2-3 |  | SET
6.3 | Split Type
| - | FCUS-M1-1CDU-M1-1 (12000 BTUH) |  | SET
| - | FCUS-M1-2CDU-M1-2 (25500 BTUH) |  | SET
| - | FCUS-M1-3/CDU-M1-3 (20600 BTUH) |  | SET
| - | FCUS-M1-4/CDU-M1-4 (20600 BTUH) |  | SET
| - | FCUS-M2-1/CDU-M1-1 (39100 BTUH) |  | SET
| - | FCUS-M2-2/CDU-M1-2 (39100 BTUH) |  | SET
ADD | - | FCUS-FOR M&E LIFT MACHINE ROOM(12000 BTUH) |  | SET
6.4 | Refrigerant for VRV & Split Type System |  |  | LOT
6.5 | VRV BACnet Gateway & Remote Control |  |  | LOT
6.6 | Filter |  |  | SET
TOTAL ITEM 6
7 | FAN
7.1 | Exhuast Fan
| - | EAF-M1-1 (15700 CFM) |  | SET
| - | EAF-M1-2 (2250 CFM) |  | SET
| - | EAF-M1-3 (2250 CFM) |  | SET
| - | EAF-M1-4 (100 CFM) |  | SET
| - | EAF-M1-5 (80 CFM) |  | SET
| - | EAF-M1-6 (5400 CFM) |  | SET
| - | EAF-M1-7 (2100 CFM) |  | SET
| - | EAF-M1-8 (100 CFM) |  | SET
| - | EAF-M1-9 (50 CFM) |  | SET
| - | EAF-M1-10 (100 CFM) |  | SET
| - | EAF-M1-11 (360 CFM) |  | SET
| - | EAF-M1-12 (440 CFM) |  | SET
| - | EAF-M1-13 (21000 CFM) |  | SET
| - | EAF-M1-14 (15000 CFM) |  | SET
| - | EAF-M1-15 (3000 CFM) |  | SET
| - | EAF-M1-16 (80 CFM) |  | SET
| - | EAF-M1-17 (8000 CFM) |  | SET
| - | EAF-M1-18 (200 CFM) |  | SET
| - | EAF-M1-19 (60 CFM) |  | SET
| - | EAF-M1-20 (200 CFM) |  | SET
| - | EAF-M1-21 (2560 CFM) |  | SET
| - | EAF-M1-22 (100 CFM) |  | SET
| - | EAF-M1-23 (200 CFM) |  | SET
| - | EAF-M1-24 (60 CFM) |  | SET
| - | EAF-M1-25 (200 CFM) |  | SET
| - | EAF-M1-26 (1950 CFM) |  | SET
| - | EAF-MM1-1 (1050 CFM) |  | SET
| - | EAF-MM1-2 (200 CFM) |  | SET
| - | EAF-MM1-3 (100 CFM) |  | SET
| - | EAF-M2-2 (13860 CFM) |  | SET
| - | EAF-M2-3 (1200 CFM) |  | SET
| - | EAF-M2-4 (50 CFM) |  | SET
| - | EAF-M2-5 (50 CFM) |  | SET
| - | EAF-M2-6 (240 CFM) |  | SET
| - | EAF-M2-7 (160 CFM) |  | SET
| - | EAF-M2-8 (100 CFM) |  | SET
| - | EAF-M2-9 (100 CFM) |  | SET
| - | EAF-M2-10 (1050 CFM) |  | SET
| - | EAF-M2-11 (2560 CFM) |  | SET
| - | EAF-M2-12 (200 CFM) |  | SET
| - | EAF-M2-13 (40 CFM) |  | SET
| - | EAF-M2-14 (60 CFM) |  | SET
| - | EAF-M2-15 (200 CFM) |  | SET
| - | EAF-M2-16 (100 CFM) |  | SET
| - | EAF-M2-17 (100 CFM) |  | SET
| - | EAF-M2-1 (18860 CFM) |  | SET
| - | EAF-MM2-1 (60 CFM) |  | SET
ADD | - | EAF-FOR EE ROOM & SERVER ROOM (100 CFM) |  | SETS
ADD | - | KITCHEN HOOD |  | SETS
| 7.2 | Pressurized Air Fan
| - | PAF-MM2-1 (15800 CFM) |  | SET
| - | PAF-MM2-2 (15800 CFM) |  | SET
| - | PAF-MM2-3 (15800 CFM) |  | SET
| - | PAF-MM2-4 (15800 CFM) |  | SET
| - | PAF-MM2-5 (15800 CFM) |  | SET
| 7.3 | Smoke Exhuast Fan
| - | SEF-M1-1 (7200 CFM) |  | SET
| - | SEF-M1-2 (7200 CFM) |  | SET
| - | SEF-MM2-1 (7200 CFM) |  | SET
| - | SEF-MM2-2 (7200 CFM) |  | SET
| - | SEF-MR-1 (7200 CFM) |  | SET
| - | SEF-MR-2 (7200 CFM) |  | SET
| 7.4 | Concrete Foundation |  | SET
TOTAL ITEM 7
8 | PIPING WORK
| 8.1 | ERW Black Steel Pipe Sch.40, Seamed
|  | - DIA. 3/4" |  | M.
|  | - DIA. 1" |  | M.
|  | - DIA. 1 1/4" |  | M.
|  | - DIA. 1 1/2" |  | M.
|  | - DIA. 2" |  | M.
|  | - DIA. 2 1/2" |  | M.
|  | - DIA. 3" |  | M.
|  | - DIA. 4" |  | M.
|  | - DIA. 6" |  | M.
|  | - DIA. 8" |  | M.
|  | - DIA. 12" |  | M.
|  | - DIA. 14" |  | M.
|  | - DIA. 16" |  | M.
|  | - DIA. 18" |  | M.
|  | - DIA. 20" |  | M.
|  | PIPE FITTING |  | LOT
|  | PIPE HANGERS & SUPPORTS |  | LOT
| 8.2 | Galvanized Steel Pipe Class Medium
|  | - DIA. 1 1/2" |  | M.
|  | - DIA. 2" |  | M.
|  | PIPE FITTING |  | LOT
|  | PIPE HANGERS & SUPPORTS |  | LOT
| 8.3 | PVC Pipe Class 8.5
|  | - DIA. 3/4" |  | M.
|  | - DIA. 1" |  | M.
|  | - DIA. 1 1/4" |  | M.
|  | - DIA. 1 1/2" |  | M.
|  | - DIA. 2" |  | M.
|  | PIPE FITTING |  | LOT
|  | PIPE HANGERS & SUPPORTS |  | LOT
| 8.4 | Refrigerant Cu Tube Type L (OD)
|  | - DIA. 3/8" |  | M.
|  | - DIA. 1/2" |  | M.
|  | - DIA. 5/8" |  | M.
|  | - DIA. 3/4" |  | M.
|  | - DIA. 7/8" |  | M.
|  | - DIA. 1 1/8" |  | M.
|  | - DIA. 1 3/8" |  | M.
|  | - DIA. 1 1/2" |  | M.
|  | PIPE FITTING |  | LOT
|  | PIPE HANGERS & SUPPORTS |  | LOT
| 8.5 | Painting for Piping Work |  | LOT
TOTAL ITEM 8
9 | PIPE INSULATION
| 9.1 | For Chilled Water Pipe
|  | - DIA. 3/4" |  | M.
|  | - DIA. 1" |  | M.
|  | - DIA. 1 1/4" |  | M.
|  | - DIA. 1 1/2" |  | M.
|  | - DIA. 2" |  | M.
|  | - DIA. 2 1/2" |  | M.
|  | - DIA. 3" |  | M.
|  | - DIA. 4" |  | M.
|  | - DIA. 6" |  | M.
|  | - DIA. 8" |  | M.
|  | - DIA. 12" |  | M.
ADD |  | - DIA. 14" |  | M.
|  | - DIA. 16" |  | M.
|  | - DIA. 20" |  | M.
| 9.2 | For Refrigerant Pipe
|  | - DIA. 5/8" |  | M.
|  | - DIA. 3/4" |  | M.
|  | - DIA. 7/8" |  | M.
|  | - DIA. 1 1/8" |  | M.
|  | - DIA. 1 3/8" |  | M.
|  | - DIA. 1 1/2" |  | M.
| 9.3 | For Condensate Drain Pipe
|  | - DIA. 3/4" |  | M.
|  | - DIA. 1" |  | M.
|  | - DIA. 1 1/4" |  | M.
|  | - DIA. 1 1/2" |  | M.
|  | - DIA. 2" |  | M.
TOTAL ITEM 9
10 | VALVE & PIPE ACCESSORIES
| 10.1 | Flexible Pipe Connection
|  | DIA. 8" |  | SET
|  | DIA. 12" |  | SET
ADD |  | DIA. 3/4" |  | SET
ADD |  | DIA. 1" |  | SET
ADD |  | DIA. 1-1/4" |  | SET
ADD |  | DIA. 1-1/2" |  | SET
ADD |  | DIA. 2-1/2" |  | SET
ADD |  | DIA. 3" |  | SET
ADD |  | DIA. 4" |  | SET
| 10.2 | Gate Valve
|  | DIA. 3/4" |  | SET
|  | DIA. 1" |  | SET
|  | DIA. 1-1/4" |  | SET
|  | DIA. 1-1/2" |  | SET
|  | DIA. 2" |  | SET
|  | DIA. 2-1/2" ( B/V ) |  | SET
|  | DIA. 3" |  | SET
|  | DIA. 4" |  | SET
| 10.3 | Check Valve
|  | DIA. 2" |  | SET
|  | DIA. 8" |  | SET
|  | DIA. 12" |  | SET
| 10.4 | Butterfly Valve
|  | DIA. 4" |  | SET
|  | DIA. 6" |  | SET
|  | DIA. 8" |  | SET
|  | DIA. 12" |  | SET
|  | DIA. 16" |  | SET
| 10.5 | Motorized Butterfly Valve
|  | DIA. 8" |  | SET
|  | DIA. 12" |  | SET
| 10.6 | Automatic Air Vent with Valve & dirt Pocket
|  | DIA. 1" |  | SET
| 10.7 | 2- Way Automatic Balancing Combination Control Valve
(2- Way Pressure Independent Control Valve)
| - | Proportional type
|  | - DIA. 1-1/2" |  | SET
|  | - DIA. 2-1/2" |  | SET
|  | - DIA. 3" |  | SET
|  | - DIA. 4" |  | SET
| - | On-Off type
|  | - DIA. 3/4" |  | SET
|  | - DIA. 1" |  | SET
|  | - DIA. 1-1/4" |  | SET
| 10.8 | Strainer
|  | DIA. 3/4" |  | SET
|  | DIA. 1" |  | SET
|  | DIA. 1-1/4" |  | SET
|  | DIA. 1-1/2" |  | SET
|  | DIA. 2-1/2" |  | SET
|  | DIA. 3" |  | SET
|  | DIA. 4" |  | SET
|  | DIA. 8" |  | SET
|  | DIA. 12" |  | SET
| 10.9 | Pressure Relief valve
|  | DIA. 1" |  | SET
|  | DIA. 8" |  | SET
| 10.1 | Close type expansion tank/Bladder Type (250 gallon) |  | SET
| 10.11 | Chemical Bypass Feeder |  | SET
| 10.12 | Chemical For Chille Water |  | LOT
TOTAL ITEM 10
11 | DUCT WORK
| 11.1 | Galvanized Steel sheet
|  | - USG. NO 26 |  | SQ. FT.
|  | - USG. NO 24 |  | SQ. FT.
|  | - USG. NO 22 |  | SQ. FT.
|  | - USG. NO 20 |  | SQ. FT.
|  | - USG. NO 18 |  | SQ. FT.
| 11.2 | Fire Rated Duct |  | SQ. FT.
| 11.3 | Black Steel Sheet Thickness 2 mm. |  | SQ. FT.
| 11.4 | Round Diffuser W/VD
|  | - DIA. 10" |  | SET
|  | - DIA. 14" |  | SET
|  | - DIA. 16" |  | SET
|  | - DIA. 18" |  | SET
|  | - DIA. 20" |  | SET
| 11.5 | Square Diffuser W/VD
|  | - SIZE 14"x14" |  | SET
|  | - SIZE 16"x16" |  | SET
| 11.6 | Supply Air Grille W/VD
|  | - SIZE 64"x62" |  | SET
| 11.7 | Swivel Jet Diffuser W/VD
|  | -SIZE DIA. 16" |  | SET
|  | -SIZE DIA. 20" |  | SET
| 11.8 | Return Air Grille
|  | - SIZE 48"x24" |  | SET
|  | - SIZE 48"x48" |  | SET
| 11.9 | Fresh Air Grille (W/ Insect Screen )
|  | - SIZE 18"x10" |  | SET
|  | - SIZE 18"x20" |  | SET
|  | - SIZE 72"x72" |  | SET
|  | - SIZE 24"x16" |  | SET
|  | - SIZE 28"x26" |  | SET
|  | - SIZE 30"x30" |  | SET
|  | - SIZE 34"x16" |  | SET
|  | - SIZE 20"x16" |  | SET
|  | - SIZE 52"x30" |  | SET
|  | - SIZE 90"x72" |  | SET
|  | - SIZE 96"x80" |  | SET
|  | - SIZE 100"x90" |  | SET
| 11.1 | Fresh Air Grille W/VD
|  | - SIZE 6"x4" |  | SET
|  | - SIZE 6"x6" |  | SET
|  | - SIZE 8"x6" |  | SET
|  | - SIZE 14"x8" |  | SET
| 11.11 | Exhuast Air Grille W/VD
|  | - SIZE 6"x6" |  | SET
|  | - SIZE 8"x6" |  | SET
|  | - SIZE 8"x8" |  | SET
|  | - SIZE 16"x10" |  | SET
|  | - SIZE 48"x24" |  | SET
| 11.12 | Exhuast Air Grille (W/ Insect Screen)
|  | - SIZE 6"x6" |  | SET
|  | - SIZE 8"x6" |  | SET
|  | - SIZE 8"x8" |  | SET
|  | - SIZE 10"x8" |  | SET
|  | - SIZE 82"x48" |  | SET
|  | - SIZE 12"x10" |  | SET
|  | - SIZE 14"x10" |  | SET
|  | - SIZE 14"x12" |  | SET
|  | - SIZE 24"x26" |  | SET
|  | - SIZE 32"x20" |  | SET
|  | - SIZE 36"x20" |  | SET
|  | - SIZE 40"x50" |  | SET
|  | - SIZE 44"x36" |  | SET
|  | - SIZE 60"x60" |  | SET
|  | - SIZE 66"x76" |  | SET
|  | - SIZE 68"x90" |  | SET
|  | - SIZE 80"x48" |  | SET
|  | - SIZE 84"x60" |  | SET
|  | - SIZE 100"x40" |  | SET
ADD |  | Exhuast Pipe(PVC Class 5)
|  | - DIA. 6" |  | M.
|  | - DIA. 8" |  | M.
|  | - DIA. 10" |  | M.
| 11.13 | Smoke Exhuast Grille
|  | - SIZE 48"x40" |  | SET
| 11.14 | Fire Damper
|  | - SIZE 20"x20" |  | SET
|  | - SIZE 22"x22" |  | SET
|  | - SIZE 30"x12" |  | SET
|  | - SIZE 30"x30" |  | SET
| 11.15 | Volume Damper
|  | - SIZE 6"x4" |  | SET
|  | - SIZE 6"x6" |  | SET
|  | - SIZE 8"x6" |  | SET
|  | - SIZE 14"x8" |  | SET
| 11.16 | Motorized Volume Damper
|  | - SIZE 12"x12" |  | SET
|  | - SIZE 14"x12" |  | SET
|  | - SIZE 14"x14" |  | SET
|  | - SIZE 16"x10" |  | SET
|  | - SIZE 16"x12" |  | SET
|  | - SIZE 16"x14" |  | SET
|  | - SIZE 16"x16" |  | SET
|  | - SIZE 18"x18" |  | SET
|  | - SIZE 20"x14" |  | SET
|  | - SIZE 20"x14" |  | SET
|  | - SIZE 20"x18" |  | SET
|  | - SIZE 20"x20" |  | SET
|  | - SIZE 22"x20" |  | SET
|  | - SIZE 22"x22" |  | SET
|  | - SIZE 24"x12" |  | SET
|  | - SIZE 24"x16" |  | SET
|  | - SIZE 24"x22" |  | SET
|  | - SIZE 28"x20" |  | SET
|  | - SIZE 28"x22" |  | SET
|  | - SIZE 30"x12" |  | SET
|  | - SIZE 34"x20" |  | SET
|  | - SIZE 44"x42" |  | SET
|  | - SIZE 46"x16" | 0 | SET | - | - | - | - | -
|  | - SIZE 48"x18" | 0 | SET | - | - | - | - | -
|  | - SIZE 48"x30" |  | SET
|  | - SIZE 48"x38" |  | SET
|  | - SIZE 48"x40" | 0 | SET | - | - | - | - | -
|  | - SIZE 50"x32" |  | SET
|  | - SIZE 50"x44" | 0 | SET | - | - | - | - | -
|  | - SIZE 52"x30" | 0 | SET | - | - | - | - | -
|  | - SIZE 60"x30" | 0 | SET | - | - | - | - | -
|  | - SIZE 60"x40" | 0 | SET | - | - | - | - | -
|  | - SIZE 40"x22" |  | SET
|  | - SIZE 38"x22" |  | SET
|  | - SIZE 60"x44" |  | SET
|  | - SIZE 60"x46" |  | SET
|  | - SIZE 62"x40" |  | SET
|  | - SIZE 62"x46" |  | SET
|  | - SIZE 66"x26" |  | SET
|  | - SIZE 66"x46" | 0 | SET | - | - | - | - | -
|  | - SIZE 70"x46" |  | SET
|  | - SIZE 76"x46" | 0 | SET | - | - | - | - | -
| 11.17 | Smoke Motorized Damper
|  | - SIZE 38"x20" |  | SET
|  | - SIZE 54"x24" |  | SET
| 11.18 | Backdaft Damper
|  | - SIZE 30"x12" | 0 | SET | - | - | - | - | -
|  | - SIZE 38"x20" |  | SET
| 11.19 | Pressure Relieve Damper 36"x24" |  | SET
| 11.2 | Duct Insulation
|  | - Fiberglass |  | SQ. FT.
|  | - Calcium Silicate |  | SQ. FT.
| 11.21 | Duct Tape & Adhesive |  | SQ. FT.
| 11.22 | Duct Hangers & Supports |  | LOT | - | - | - | - | -
| TOTAL ITEM 11 |  |  |  |  | 0 |  | 0 | 0
12 | CONTROL EQUIPMENT & INSTRUMENT
| 12.1 | Thermometer |  | SET
| 12.2 | Pressure Gauge with Snubber & Needle Valve with Drain |  | SET
| 12.3 | Flow switch |  | SET
| 12.4 | Water Temperature Transmitter |  | SET
| 12.5 | Water Differentail pressure transmitter |  | SET
| 12.6 | Water Flowmeter
|  | -Chilled Water flow meter dia 12" electromagnetic |  | SET
|  | -Condensing water flow meter dia 18" electromagnetic |  | SET
|  | -Chilled /Condensing water flow trasmitter (diff pressure type) | - | SET | - | - | - | - | -
| 12.7 | Outdoor air temperature transmitter |  | SET
| 12.8 | Outdoor humidity transmitter |  | SET
| 12.9 | Water flow direction switch |  | SET
| 12.1 | Room Thermostat |  | SET
| 12.11 | Room Temperatue Sensor |  | SET
| 12.11 | Room CO2 Sensor |  | SET
| 12.12 | Duct Type Temperature Transmitter |  | SET
| 12.13 | Duct Type Smoke Detector |  | SET
| 12.13 | Supply Air Pressure Transmitter |  | SET
TOTAL ITEM 12
13 | ELECTRICAL PANEL
| 13.1 | AC Control Panel
| - | Starter DOL 0.25 HP |  | SET
| - | Starter DOL 0.5 HP |  | SET
| - | Starter DOL 1 HP |  | SET
| - | Starter DOL 1.5 HP |  | SET
| - | Starter DOL 3HP |  | SET
| - | Starter DOL 5 HP |  | SET
| - | Starter Y-D 7.5 HP |  | SET
| - | Starter Y-D 10 HP ( 2 HP ) |  | SET
| - | Starter Y-D 30 HP |  | SET
| - | Starter Y-D 100 HP ( 15 HP ) |  | SET
|  | 20 HP |  | SET
|  | 40 HP |  | SET
|  | 50 HP |  | SET
(ราคาดังกล่าวไม่รวมตู้ Chiller,PCP,SCP,CDP,CT )
| 13.2 | Vairable Speed Drive, IP20
| - | 7.5 HP |  | SET
| - | 15 HP |  | SET
| - | 20 HP |  | SET
| - | 30 HP |  | SET
| - | 40 HP |  | SET
| - | 50 HP |  | SET
| - | 100 HP ( 90 HP ) |  | SET
| 13.3 | Safety Switch
| - | For VRV Unit
| - | VRV-M1-1 |  | SET
| - | VRV-MM1-1 |  | SET
| - | VRV-M2-1 |  | SET
| - | VRV-M2-2 |  | SET
| - | VRV-M2-3 |  | SET
TOTAL ITEM 13
14 | ELECTRICAL & CONTROL SYSTEM
| 14.1 | Cable
| - | THW 750V 70`C
|  | - 1.5 sq.mm. |  | M.
|  | - 2.5 sq.mm. |  | M.
|  | - 4 sq.mm. |  | M.
|  | - 6 sq.mm. |  | M.
|  | - 10 sq.mm. |  | M.
|  | - 16 sq.mm. |  | M.
|  | - 25 sq.mm. |  | M.
|  | - 35 sq.mm. |  | M.
|  | - 70 sq.mm. |  | M.
|  | - 95 sq.mm. |  | M.
|  | - 150 sq.mm. |  | M.
|  | - 300 sq.mm. |  | M.
| - | Low Smoke Cable
|  | - 2.5 sq.mm. |  | M.
|  | - 6 sq.mm. |  | M.
| - | Control Cable
|  | - CVVS 2C - 1.0 sq.mm. | - | M. | - | 0 | - | 0 | 0
|  | - CVV 2C - 1.0 sq.mm. |  | M.
| 14.2 | Conduit
| - | IMC
|  | - DIA. 15 mm. |  | M.
|  | - DIA. 20 mm. |  | M.
|  | - DIA. 25 mm. |  | M.
|  | - DIA. 40 mm. |  | M.
|  | - DIA. 65 mm. |  | M
|  | - DIA. 80 mm. |  | M
|  | - DIA. 150x250 mm. |  | M
| - | EMT
|  | - DIA. 15 mm. |  | M.
|  | - DIA. 20 mm. |  | M.
|  | - DIA. 25 mm. |  | M.
|  | - DIA. 32 mm. |  | M.
|  | - DIA. 40 mm. |  | M.
|  | - DIA. 50 mm. |  | M.
| 14.3 | Hangers & Supports |  | LOT
TOTAL ITEM 14
15 | TESTING , ADJUSTING AND BALANCING |  |  | LOT
TOTAL ITEM 15
16 | MISCELLANEOUS |  |  | LOT
TOTAL ITEM 16